## 8. Summary
TABLE 8. SUMMER TOTAL PHOSPHORUS CONCENTRATION COMPARISONS
Souhegan River Total Phosphorus (mg/L)
Site # | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | Historical Mean
SoR333 | 0.017429 | 0.015333 | 0.1275 | 0.018 | na | na | 0.019 | 0.026 | na | 0.03721
SoR320 | na | na | 0.17333 | na | na |  | na | na | na | na
SoR309 | 0.021571 | 0.012667 | 0.145 | 0.021 | 0.024333 | 0.025 | 0.018 | 0.02 | 0.018 | 0.033952
SoR296 | na | 0.017667 | 0.1075 | 0.028 | 0.02275 | 0.02 | na | na | na | 0.039183
SoR291 | 0.068714 | 0.14233 | 0.158 | 0.286 | 0.114 | 0.06275 | na | 0.097 | 0.055 | 0.12297
SoR241 | 0.024286 | na | na | na | na | na | na | na | na | na
SoR218 | 0.0304 | 0.027667 | 0.1275 |  | na | na | na | na | na | 0.061856
SoR210 | na | na | na | 0.0195 | na | na | na | na | na | na
SoR206 | na | 0.019667 | na | na | na | na | na | na | na | na
SoR201 | 0.024143 | 0.022333 | 0.0975 | 0.016 | 0.0425 | 0.03125 | 0.02 | 0.024 | 0.021 | 0.033192
SoR170 | na | na | na | 0.072 | na | 0.023 | 0.031 | 0.034 | 0.035 | 0.039
SoR155 |  |  |  | na | na | na | na | na | na | na
SoR150 | 0.025 | 0.018667 | 0.14 |  |  |  | na | na | na | 0.061222
SoR146 | 0.026167 | 0.022 | 0.08 | na | na | na | na | na | na | 0.042722
SoR133 | 0.023 | 0.013 | 0.13 | 0.019 | 0.02025 | 0.0245 | 0.02 | 0.021 | 0.02 | 0.032306
SoR130 | 0.059857 | 0.16167 | 0.1925 | na | 0.027 | na | na | na | na | 0.11026
SoR122 | na | 0.33633 | na | 0.426 | 0.13225 | 0.08025 | 0.101 | 0.123 | 0.045 | 0.17769
SoR116 | 0.053167 | 0.15233 | 0.304 | 0.445 | 0.15833 | 0.069333 | 0.129 | 0.034 | 0.028 | 0.15257
SoR095 | 0.0588 | 0.10267 | 0.27 | 0.271 | 0.12767 | 0.09525 | 0.168 | 0.102 | 0.063 | 0.13982
SoR057 | 0.052714 | 0.075 | 0.1475 | 0.1695 | 0.0835 | 0.06675 | 0.079 | 0.066 | 0.061 | 0.088996 | Souhegan River
SoR034 | 0.050714 | 0.062667 | 0.093333 | na | na | na | na | 0.059 | 0.042 | 0.061543 | Historical mean (row)
S mean: | 0.038283 | 0.075125 | 0.15291 | 0.15389 | 0.074393 | 0.053353 | 0.054026 | 0 | 0.056156 |  | 0.073126 | mg/L
from table 4
Merrimack River Total Phosphorus (mg/L)
Site# | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | Historical Mean
MeR600 |  |  |  | 0.023 | 0.024 | na | na | 0.023 | 0.03 | 0.025
MeR590 |  |  |  | 0.025 | na | na | 0.03 | 0.035 | na | 0.03
MeR580 |  |  |  | 0.022 | 0.029333 | na | na | na | na | 0.025667
MeR570 |  |  |  | na | 0.023667 | 0.03375 | na | 0.032 | 0.037 | 0.031604
MeR560 |  |  |  | na | na | na | na | na |  | na
MeR550 |  |  |  | na | 0.09275 | 0.06 | 0.06 | 0.051 | 0.048 | 0.06235
MeR540 |  |  |  | 0.092 | na | na | na | na |  | na
MeR530 |  |  |  | 0.263 | 0.105 | 0.072 | 0.067 | 0.056 | 0.047 | 0.10167 | Merrimack River
MeR520 |  |  |  | 0.1755 | 0.08925 | 0.073 | na | 0.061 | 0.049 | 0.08955 | Historical mean (row)
M mean: |  |  |  | 0.099 | 0.061684 | 0.056286 | 0.041 | 0 | 0.045824 |  | 0.080342 | mg/L
from table 4
Souhegan Watershed Association data
Notes: 1 | Data reported is the mean of all collected data for the year reported, usually 4 samples
2 | 2000 data (measured by a local comercial laboratory) is deemed not reliable based
on replicates tested at alternate analysis laboratories. 2001 and later data measured by NH-DES
3 | Values greater than 0.1 mg/l are listed in BOLD
Site Designations

## 2006
TABLE 4. SUMMER 2006 TOTAL PHOSPHORUS CONCENTRATIONS
Souhegan River Total Phosphorus (mg/L)
Site # | 2005-06-13 | 2005-07-11 | 2005-08-08 | 2005-09-05 | Seasonal Mean
SoR BWP1 | 0.02 | na | na | na | na
SoR333 | na | na | na | na | na
SoR309 | 0.015 | 0.023 | 0.018 | 0.016 | 0.018
SoR296 | na | na | na | na | na
SoR291 | 0.016 | 0.12 | 0.061 | 0.024 | 0.05525
SoR210 | na | na | na | na | na
SoR201 | 0.013 | 0.028 | 0.022 | na | 0.021
SoR170 | 0.022 | 0.041 | 0.034 | 0.042 | 0.03475
SoR133 | 0.016 | na | 0.027 | 0.018 | 0.020333
SoR122 | 0.033 | na | 0.06 | 0.042 | 0.045
SoR116 | 0.023 | na | 0.031 | 0.031 | 0.028333
SoR095 | na | na | 0.076 | 0.049 | 0.0625
SoR057 | 0.049 | na | 0.078 | 0.056 | 0.061
SoR034 | 0.027 | na | 0.043 | 0.056 | 0.042
SoR005 | na | na | na | 0.046 | na | Souhegan River
S mean: | 0.0234 | 0.053 | 0.045 | 0.038 |  | Mean tP
[6 empty] | 0.037529 | mg/L
Merimack River Total Phosphorus (mg/L)
Site # | 2005-06-13 | 2005-07-11 | 2005-08-08 | 2005-09-05 | Seasonal Mean
MeR600 | 0.032 | 0.02 | 0.037 | 0.03 | 0.02975
MeR590 | na | na | na | na | na
MeR580 | na | na | na | na | na
MeR570 | 0.05 | 0.028 | 0.042 | 0.026 | 0.0365
MeR550 | na | 0.046 | na | 0.049 | 0.0475
MeR540 | na | na | 0.04 | na | na
MeR530 | na | 0.05 | 0.024 | 0.066 | 0.046667
MeR520 | 0.042 | 0.046 | na | 0.059 | 0.049 | Merrimack River
M mean: | 0.041333 | 0.038 | 0.03575 | 0.046 |  | Mean tP
[6 empty] | 0.040412 | mg/L
Souhegan Watershed Association Data
Total Phosphorus >= 0.1 mg/L is indicated in BOLD
Measured using EPA method 365.3 NH DES by NH DES, Concord NH
Site Designations

## 2005
TABLE 4. SUMMER 2005 TOTAL PHOSPHORUS CONCENTRATIONS
Souhegan River Total Phosphorus (mg/L)
Site # | 2005-06-14 | 2005-07-12 | 2005-08-09 | 2005-09-06 | Seasonal Mean
SoR333 | na | 0.026 | na | na | 0.026
SoR309 | 0.021 | 0.026 | 0.018 | 0.016 | 0.02025
SoR296 | na | na | na | na | na
SoR291 | na | na | 0.087 | 0.107 | 0.097
SoR210 | na | na | na | na | na
SoR201 | 0.015 | 0.032 | 0.025 | 0.022 | 0.0235
SoR170 | 0.029 | 0.033 | 0.038 | 0.036 | 0.034
SoR133 | 0.016 | 0.029 | 0.02 | 0.018 | 0.02075
SoR122 | 0.048 | 0.055 | 0.127 | 0.263 | 0.12325
SoR116 | na | 0.034 | na | na | 0.034
SoR095 | 0.053 | 0.059 | 0.131 | 0.164 | 0.10175
SoR057 | 0.059 | na | 0.072 | na | 0.0655
SoR034 | 0.052 | na | 0.066 | na | 0.059 | Souhegan River
S mean: | 0.036625 | 0.03675 | 0.064889 | 0.089429 |  | Mean tP
[6 empty] | 0.056156 | mg/L
Merimack River Total Phosphorus (mg/L)
Site # | 2005-06-14 | 2005-07-12 | 2005-08-09 | 2005-09-06 | Seasonal Mean
MeR600 | na | na | 0.021 | 0.024 | 0.0225
MeR590 | 0.035 | na | na | na | 0.035
MeR580 | na | na | na | na | na
MeR570 | 0.029 | 0.05 | 0.023 | 0.026 | 0.032
MeR550 | 0.037 | na | na | 0.065 | 0.051
MeR530 | 0.043 | 0.033 | 0.077 | 0.072 | 0.05625
MeR520 | 0.06 | 0.052 | 0.068 | 0.064 | 0.061 | Merrimack River
M mean: | 0.0408 | 0.045 | 0.04725 | 0.0502 |  | Mean tP
[6 empty] | 0.045824 | mg/L
Souhegan Watershed Association Data
Total Phosphorus >= 0.1 mg/L is indicated in BOLD
Measured using EPA method 365.3 NH DES by NH DES, Concord NH
Site Designations

## 2004
TABLE 4. SUMMER 2004 TOTAL PHOSPHORUS CONCENTRATIONS
Souhegan River Total Phosphorus (mg/L)
Site # | 2004-06-08 | 2004-07-06 | 2004-08-03 | 2004-08-31 | Seasonal Mean
SoR333 | 0.014 | 0.014 | 0.016 | 0.019 | 0.01575
SoR309 | 0.037 | 0.011 | 0.018 | 0.018 | 0.021
SoR296 | na | na | na | na | na
SoR291 | 0.056 | 0.056 | 0.014 | na | 0.042
SoR210 | na | na | na | na | na
SoR201 | 0.017 | 0.022 | 0.019 | 0.02 | 0.0195
SoR170 | 0.021 | na | 0.028 | 0.031 | 0.026667
SoR133 | 0.014 | 0.015 | 0.015 | 0.02 | 0.016
SoR122 | 0.044 | 0.078 | 0.112 | 0.101 | 0.08375
SoR116 | 0.038 | 0.091 | 0.136 | 0.129 | 0.0985
SoR095 | 0.067 | 0.14 | 0.15 | 0.168 | 0.13125
SoR057 | 0.066 | 0.067 | 0.092 | 0.079 | 0.076 | Souhegan River
S mean: | 0.0374 | 0.054889 | 0.06 | 0.065 |  | Mean tP
[6 empty] | 0.054026 | mg/L
Merimack River Total Phosphorus (mg/L)
Site # | 2004-06-08 | 2004-07-06 | 2004-08-03 | 2004-08-31 | Seasonal Mean
MeR600 | na | na | na | na | na
MeR590 | 0.027 | na | na | 0.03 | 0.0285
MeR580 | na | 0.02 | 0.031 | na | 0.0255
MeR570 | 0.016 | 0.016 | 0.021 | na | 0.017667
MeR550 | na | 0.051 | na | 0.06 | 0.0555
MeR530 | 0.038 | 0.078 | na | 0.067 | 0.061
MeR520 | 0.048 | 0.066 | 0.046 | na | 0.053333 | Merrimack River
M mean: | 0.03225 | 0.0462 | 0.032667 | 0.052333 |  | Mean tP
[6 empty] | 0.041 | mg/L
Souhegan Watershed Association Data
Total Phosphorus >= 0.1 mg/L is indicated in BOLD
Measured using EPA method 365.3 NH DES by NH DES, Concord NH
Site Designations

## 2003
TABLE 4. SUMMER 2003 TOTAL PHOSPHORUS CONCENTRATIONS
Souhegan River Total Phosphorus (mg/l)
Site # | 2003-06-10 | 2003-07-08 | 2003-08-05 | 2003-09-02 | Seasonal Mean
SoR333 | na | na | na | na | na
SoR309 | 0.014 | 0.041 | 0.031 | 0.014 | 0.025
SoR296 | 0.013 | 0.027 | na | na | 0.02
SoR291 | 0.034 | 0.061 | 0.033 | 0.123 | 0.06275
SoR210 | na | na | na | na | na
SoR201 | 0.018 | 0.032 | 0.052 | 0.023 | 0.03125
SoR170 | 0.023 | na | na | na | 0.023
SoR133 | 0.019 | 0.024 | 0.033 | 0.022 | 0.0245
SoR122 | 0.034 | 0.095 | 0.054 | 0.138 | 0.08025
SoR116 | 0.037 | 0.113 | 0.058 | na | 0.069333
SoR095 | 0.033 | 0.13 | 0.063 | 0.155 | 0.09525
SoR057 | 0.034 | 0.08 | 0.081 | 0.072 | 0.06675 | Souhegan River
S mean: | 0.0259 | 0.067 | 0.050625 | 0.078143 |  | Mean tP
[6 empty] | 0.053353 | mg/l
Merimack River Total Phosphorus (mg/l)
Site # | 2003-06-10 | 2003-07-08 | 2003-08-05 | 2003-09-02 | Seasonal Mean
MeR600 | na | na | na | 0.025 | na
MeR590 | na | na | na | na | na
MeR580 | na | na | na | na | na
MeR570 | 0.021 | 0.021 | 0.073 | 0.02 | 0.03375
MeR550 | 0.041 | 0.079 | na | na | 0.06
MeR530 | 0.036 | na | 0.081 | 0.099 | 0.072
MeR520 | 0.062 | 0.085 | 0.066 | 0.079 | 0.073 | Merrimack River
M mean: | 0.04 | 0.061667 | 0.073333 | 0.05575 |  | Mean tP
[6 empty] | 0.056286 | mg/l
Souhegan Watershed Association Data
Total Phosphorus >= 0.1 mg/l is indicated in BOLD
Measured using EPA method 365.3 NH DES by NH DES, Concord NH
Site Designations

## 2002
TABLE 4. SUMMER 2002 TOTAL PHOSPHORUS CONCENTRATIONS
Souhegan River Total Phosphorus (mg/l)
Site # | 2002-06-11 | 2002-07-09 | 2002-08-06 | 2002-09-03 | Seasonal Mean
SoR333 | na | na | na | na | na
SoR309 | 0.028 | 0.022 | na | 0.023 | 0.024333
SoR296 | 0.018 | 0.028 | 0.023 | 0.022 | 0.02275
SoR291 | na | na | 0.114 | na | 0.114
SoR210 | na | na | na |  | na
SoR201 | 0.021 | 0.026 | 0.103 | 0.02 | 0.0425
SoR170 | na | na | na | na | na
SoR133 | 0.021 | 0.032 | 0.018 | 0.01 | 0.02025
SoR122 | 0.069 | 0.075 | 0.148 | 0.237 | 0.13225
SoR116 | 0.216 | 0.073 | 0.186 |  | 0.15833
SoR095 | 0.031 | 0.1 | na | 0.252 | 0.12767 | Souhegan River
SoR057 | 0.041 | na | na | 0.126 | 0.0835 | mean tP (mg/l)
S mean: | 0.055625 | 0.050857 | 0.098667 | 0.098571 |  | 0.074393
Merimack River Total Phosphorus (mg/l)
Site # | 2002-06-11 | 2002-07-09 | 2002-08-06 | 2002-09-03 | Seasonal Mean
MeR600 | 0.03 | na | na | 0.018 | 0.024
MeR590 | na | 0.027 | na | na | 0.027
MeR580 | 0.042 | na | 0.024 | 0.022 | 0.029333
MeR570 | na | 0.024 | 0.017 | 0.03 | 0.023667
MeR550 | 0.045 | 0.085 | 0.128 | 0.113 | 0.09275
MeR530 | 0.045 | na | 0.165 | na | 0.105 | Merrimack River
MeR520 | 0.062 | 0.079 | 0.122 | 0.094 | 0.08925 | mean tP (mg/l)
M mean: | 0.0448 | 0.05375 | 0.0912 | 0.0554 |  | 0.061684
Souhegan Watershed Association Data
Total Phosphorus >= 0.1 mg/l is indicated in BOLD
Measured using EPA method 365.3 NH DES by NH DES, Concord NH
Site Designations

## 2001
SWA Total Phosphorus
Summer 2001
Total Phosphorus (mg/l)
Site # | 2001-09-04 | 2001-09-18 | 2001 ave
SoR333 | na | 0.018 | 0.018
SoR309 | 0.018 | 0.024 | 0.021
SoR296 | 0.028 | na | 0.028
SoR291 | 0.286 | na | 0.286
SoR210 | 0.021 | 0.018 | 0.0195
SoR201 | na | 0.016 | 0.016
SoR170 | 0.061 | 0.083 | 0.072
SoR133 | 0.019 | na | 0.019
SoR122 | 0.296 | 0.556 | 0.426
SoR116 | na | 0.445 | 0.445
SoR095 | 0.208 | 0.334 | 0.271
SoR057 | 0.169 | 0.17 | 0.1695
SoR ave: | 0.12289 | 0.18489 | 0.14925 | 0.15389
MeR600 | 0.02 | 0.026 | 0.023
MeR590 | na | 0.025 | 0.025
MeR580 | 0.022 | na | 0.022
MeR540 | 0.045 | 0.139 | 0.092
MeR530 | na | 0.263 | 0.263
MeR520 | 0.098 | 0.253 | 0.1755
MeR ave: | 0.04625 | 0.1412 | 0.10008 | 0.099
Total Phosphorus > 0.1 mg/ml is considered high.
Using EPA method 365.3 NH DES
Measured by NH DES, Concord NH

## 2000
SOUHEGAN WATERSHED WATER QUALITY SAMPLES-2000
|  | Total Phosphorus (mg/l) |  |  |  | 2000
Site # | 2000-06-13 | 2000-07-11 | 2000-08-08 | 2000-09-05 | 2000-09-19 | Avg
SOR333 | 0.16 | na | 0.11 | 0.18 | 0.06 | 0.1275
SOR320 | na | na | 0.47 | 0.03 | 0.02 | 0.17333
SOR309 | 0.16 | 0.25 | na | 0.1 | 0.07 | 0.145
SOR296 | 0.12 | 0.12 | 0.14 | 0.05 | na | 0.1075
SOR291 | 0.08 | 0.17 | 0.03 | 0.04 | 0.47 | 0.158
SOR218 | 0.17 | 0.19 | 0.09 | na | 0.06 | 0.1275
SOR201 | 0.15 | 0.14 | 0.04 | na | 0.06 | 0.0975
SOR150 | 0.27 | 0.13* | 0.11 | 0.04 | na | 0.14
SOR146 | 0.14 | na | 0.07 | 0.03 | na | 0.08
SOR133 | 0.28 | 0.1 | 0.03** | 0.08 | 0.06 | 0.13
SOR130 | 0.36 | 0.15 | 0.08** | 0.05 | 0.21 | 0.1925
SOR116 | 0.61 | 0.28 | 0.48 | 0.03 | 0.12 | 0.304
SOR095 | 0.4 | 0.18 | 0.46 | 0.04 | 0.27 | 0.27
SOR057 | 0.13 | na | 0.08 | 0.04 | 0.34 | 0.1475
SOR034 | 0.09 | 0.14 | na | 0.05 | na | 0.093333
SOR004 | 0.08 | 0.11 | 0.04 | 0.11 | 0.09 | 0.086
Note: Conflicting historical trends and quality assurance procedures
bring into querstion the validity of the above data.
* Replicates by Concord,Ma. WWTF on 7/11:
SOR150 - .05
**NHDES replicate test results on 8/8:
SOR133 - .022
SOR130 - .053

## 1999
SOUHEGAN WATERSHED WATER QUALITY SAMPLES-1999
|  |  | Total Phosphorous mg/L | [5 empty] | 1998 | 1999
Site # | 1999-06-08 | 1999-06-22 | 1999-07-06 | 1999-07-20 | 1999-08-03 | 1999-08-17 | 1999-08-31 | 1999-09-14 | Phos Avg | Phos Avg
STB001 | 1999-07-06: 0.015; 1999-08-03: 0.006; 1999-08-31: 0.005 | 0.015 | 0.0087
SOR333 | 1999-07-06: 0.02; 1999-08-03: 0.016; 1999-08-31: 0.01 | 0.016 | 0.015333
SOR309 | 1999-07-06: 0.013; 1999-08-03: 0.014; 1999-08-31: 0.011 | 0.019 | 0.012667
SOR296 | 1999-07-06: 0.019; 1999-08-03: 0.017; 1999-08-31: 0.017 |  | 0.017667
SOR291 | 1999-07-06: 0.119; 1999-08-03: 0.208; 1999-08-31: 0.1 | 0.085 | 0.14233
SOR218 | 1999-07-06: 0.033; 1999-08-03: 0.028; 1999-08-31: 0.022 | 0.03 | 0.027667
SOR206 | 1999-07-06: 0.014; 1999-08-03: 0.025; 1999-08-31: 0.02 |  | 0.019667
SOR201 | 1999-07-06: 0.028; 1999-08-03: 0.021; 1999-08-31: 0.018 | 0.022 | 0.022333
SOR150 | 1999-07-06: 0.017; 1999-08-03: 0.02; 1999-08-31: 0.019 | 0.024 | 0.018667
SOR146 | 1999-07-06: 0.026; 1999-08-03: 0.022; 1999-08-31: 0.018 | 0.026 | 0.022
SOR133 | 1999-07-06: 0.015; 1999-08-03: 0.011; 1999-08-31: 0.013 | 0.023 | 0.013
SOR130 | 1999-07-06: 0.058; 1999-08-03: 0.188; 1999-08-31: 0.239 | 0.067 | 0.16167
SOR116 | 1999-07-06: 0.048; 1999-08-03: 0.507; 1999-08-31: 0.454 | 0.081 | 0.33633
SOR095 | 1999-07-06: 0.074; 1999-08-03: 0.16; 1999-08-31: 0.223 | 0.082 | 0.15233
SOR057 | 1999-07-06: 0.079; 1999-08-03: 0.1; 1999-08-31: 0.129 | 0.054 | 0.10267
SOR034 | 1999-07-06: 0.062; 1999-08-03: 0.066; 1999-08-31: 0.097 | 0.052 | 0.075
SOR004 | 1999-07-06: 0.058; 1999-08-03: 0.039; 1999-08-31: 0.091 |  | 0.062667
SoR Avg | 1999-07-06: 0.042688; 1999-08-03: 0.090125; 1999-08-31: 0.092563
Numbers in bold indicate levels higher than the .05 mg/l level of concern

## 1998
SOUHEGAN WATERSHED WATER QUALITY SAMPLES - 1998
Total Phosphorus ( mg/L )
Site # | 1998-06-02 | 1998-06-16 | 1998-06-30 | 1998-07-14 | 1998-07-28 | 1998-08-11 | 1998-08-25 | 1998-09-08 | Phos. Avg.
StB001 | 0.019 | 0.015 | 0.018 | 0.021 | 0.016 | 0.014 | 0.018 | 0.001 | 0.017833
SoR333 | 0.025 | 0.013 | 0.017 | 0.018 | 0.018 | 0.017 | 0.014 | 0.003 | 0.017429
SoR309 | 0.024 | 0.016 | 0.021 | 0.021 | 0.026 | 0.032 | 0.011 | 0.001 | 0.021571
SoR291 | 0.043 | 0.023 | 0.032 | 0.07 | 0.056 | 0.184 | 0.073 | 0.198 | 0.068714
SoR241 | 0.021 | 0.02 | 0.018 | 0.022 | 0.036 | 0.029 | 0.024 | 0.042 | 0.024286
SoR218 | na | 0.022 | na | 0.024 | 0.031 | 0.033 | 0.042 | n/a | 0.0304
SoR201 | 0.019 | 0.018 | 0.023 | 0.021 | 0.026 | 0.036 | 0.026 | 0.01 | 0.024143
SoR150 | 0.025 | 0.023 | 0.021 | 0.025 | 0.026 | 0.035 | 0.02 | 0.014 | 0.025
SoR146 | 0.026 | 0.024 | 0.032 | 0.022 | na | 0.03 | 0.023 | 0.026 | 0.026167
SoR133 | 0.028 | 0.023 | 0.025 | 0.022 | 0.016 | 0.028 | 0.019 | 0.019 | 0.023
SoR130 | 0.039 | 0.031 | 0.082 | 0.058 | 0.067 | 0.074 | 0.068 | 0.115 | 0.059857
SoR116 | 0.035 | 0.026 | 0.03 | na | 0.07 | 0.066 | 0.092 | 0.246 | 0.053167
SoR095 | 0.039 | 0.027 | na | 0.053 | 0.09 | 0.085 | na | 0.199 | 0.0588
SoR057 | 0.045 | 0.034 | 0.042 | 0.053 | 0.044 | 0.068 | 0.083 | 0.064 | 0.052714
SoR034 | 0.069 | 0.031 | 0.047 | 0.048 | 0.048 | 0.052 | 0.06 | 0.064 | 0.050714
SoR Avg. | 0.033692 | 0.023643 | 0.0325 | 0.035154 | 0.042615 | 0.054929 | 0.042692 | 0.077
* No NH water quality standard for phosphorus.NHDES recommends a level of concern of .05 mg/L.
Numbers in bold type exceed .05 mg/L.